## Version Control
UK PET Core Lab
Electronic Record:
18F NEMA Acquisition Form
A spreadsheet for recording filling details for the NEMA image quality phantom scanned as part of the procedures for accreditation by the UK PET Core Lab.
Document Detail
Parent policy | PET Centre Operational Policy
Document Location | \\kclpet-fs01.isd.kcl.ac.uk\ncri\ACTIVE_SOPs\External Procedures
Version | 18F_NEMA_Acquisition_Form_ER_PET_V1.0
Reviewed by | LPike, Aharman, Scurry
Approved by | LPike
Effective from | 2021-09-16
Date last reviewed | 2021-09-16
Date of next review | 2024-09-16
Owner | PMarsden
Author | LPike, AHarman
Superseded documents | N/A
Related documents | 18F_Image_Quality_Phantom_Acquisition_WI_PET
Keywords | NEMA, Image Quality, 18F, phantom, site accreditation
Document History
Date | Comments |  | Approved by
2021-09-15 | Initial version of spreadsheet to replace paper form |  | LPike
18F_NEMA_Acquisition_Form_ER_PET_V1.0
Owner: PMarsden |  |  | Page 1 of 1
Next Review Date: September 2024 |  |  | © 2021 UK PET Core Lab

## PET QC FORM
PET Quality Control Form
Please complete the following fields:
Site Details |  |  |  | Routine Scanner QC Schedule
PET Centre Name: |  |  |  | CT Air Calibration:
Name of Person Completing the PET QC Form: |  |  |  | CT Number Accuracy & Noise (in water):
Date Completed: |  |  |  | CT Number Uniformity (in water):
PET to CT alignment:
PET Scanner Details |  |  |  | Comprehensive couch & CT output testing by CT physicist:
Scanner Manufacturer & Model: |  |  |  | PET PMT or SiPM Tuning:
Scanner Type: |  |  |  | PET Normalisation:
Local Scanner ID: |  |  |  | PET 18F Calibration Factor:
Year of Installation: |  |  |  | PET SUV Accuracy using 18F cylinder:
PET Component |  |  |  | Ancilliary Equipment QC
Crystal Type: (e.g. LSO/BGO) |  |  |  | Radionuclide Calibrator Accuracy:
Axial Field of View (cm): |  |  |  | Weighing Scales Accuracy:
CT Component
CT Model:
Number of CT Slices:
Local Clinical 18F-FDG Protocol
PET Acquisition |  |  |  | CT Acquisition
FDG Injected Activity Regime: |  |  |  | Auto kV or Dual kV used?:
If weight-based please provide formula: |  |  |  | Tube Potential (kV):
Fasting Period (hours): |  |  |  | Auto mA used?
Blood Glucose Upper Limit (mm/L): |  |  |  | mA used (if variable please include parameters such as Noise Index or reference mAs):
Acquisition Mode: |  |  |  | Pitch:
Step & shoot time per bed (s): |  |  |  | Rotation Time:
Continuous flow scan speed (mm/s): |  |  |  | Total Beam Collimation (mm)
Bed Overlap (%): |  |  |  | Acquired Slice Thickness and Interval (mm / mm):
| Reconstruction 1 | Reconstruction 2 | Reconstruction 3 |  | Reconstruction 1 | Reconstruction 2
Recon Algorithm: |  |  |  | Reconstruction Kernel:
Time-of-flight used? |  |  |  | Iterative Recon Used?
PSF modelling used? |  |  |  | Iterative Settings (e.g. Asir 40% or SAFIRE 3):
Iterations and subsets (if applicable): |  |  |  | Reconstruction Kernel:
Beta Value (QClear only): |  |  |  | Metal Artefact Reduction used?
Post Filter Type and Parameters (if applicable): |  |  |  | Pixel Size (mm):
Matrix Size (mm x mm): |  |  |  | Reconstructed Slice Thickness & Interval (mm / mm):
Pixel Size (mm): |  |  |  | Window Width & Level:
Slice Thickness (mm):

## NEMA ACQUISITION FORM
NEMA Acquisition Form |  |  | 109.7226
Please complete the following fields:
PET Scanner Details |  | Radionuclide Calibrator Details
PET Centre Name: |  | Calibrator Make & Model:
Scanner Manufacturer & Model: |  | 18F Factor used:
Local Scanner ID: |  | Date of most recent 18F cross calibration check:
Results (measured/true activity concentration):
Phantom Details
Date of Phantom Scan: |  | Phantom Manufacturer:
Name of Person Performing the Phantom Acquisition: |  | Phantom Background Volume (ml): | 9800
18F Assay Details
Syringe 1: Spheres |  | Syringe 2: Background
Syringe 1 Activity (MBq): | 37 | Syringe 2 Activity (MBq): | 72
Measurement Time (hh:mm:ss): | 12:00 | Measurement Time (hh:mm:ss): | 12:00
Dilution volume (ml) | 1000 | Residual Activity (MBq): | 0
Residual Activity (MBq): | 0 | Measurement Time (hh:mm:ss): | 12:00
Measurement Time (hh:mm:ss): | 12:00 | Net Activity (MBq) | 72
Net Activity (MBq) | 37 | spheres to background ratio | 5.0361
Phantom Acquisition Details
Acquisition 1: |  | Acquisition 2:
Single bed static PET Acquisition start time (hh:mm:ss): | 13:00 | Two bed or continuous flow PET Acquisition start time (hh:mm:ss): | 12:00
Activity Concentration at Scan Time |  | Activity Concentration at Scan Time
Spheres (kBq/ml): | 25.3273 | Spheres (kBq/ml): | 37
Background (kBq/ml): | 5.0291 | Background (kBq/ml): | 7.3469

## PHANTOM CHECKS
Phantom Checks
Please complete the following fields:
PET Scanner Details
PET Centre Name:
Scanner Manufacturer & Model:
Local Scanner ID:
Phantom Acquisition Details
Acquisition 1:
Single bed static PET Acquisition start time (hh:mm:ss): | 13:00
| Reconstruction 1 | Reconstruction 2 | Reconstruction 3
Series Description
Recon Algorithm:
Time-of-flight used?
PSF modelling used?
Iterations and subsets (if applicable):
Beta Value (QClear only):
Post Filter Type and Parameters (if applicable):
Matrix Size (mm x mm):
Pixel Size (mm):
Slice Thickness (mm):
Quantitative Checks
Mean Bq/ml measured for a 5cm ROI in the uniform background
Max Bq/ml measured for the largest (37mm) sphere
Background Recovery Coefficient
Tolerance: Ideally 0.95 - 1.05, Acceptable 0.90 - 1.10
37mm Sphere Recovery Coefficient
Tolerance: non-PSF 0.95 - 1.16, PSF 1.05 – 1.29
Visual Checks
Are the PET & CT visually aligned?
Are all 6 spheres filled with activity?
Is the phantom artefact free?